## Correlation
Instrument Comparisons
| A | B
| 1 | 0.62381
| 2 | 1.9313
| 3 | 3.258
| 4 | 4.0836
| 5 | 4.4234
| 6 | 5.7601
| 7 | 6.7775
| 8 | 7.9657
| 9 | 8.5444
| 10 | 9.3003
| Correlation | 0.99579
For 1:1 Line
| 0 | 0
| 11 | 11

## Regression
Instrument Comparisons
| A | B | SUMMARY OUTPUT
| 1 | 0.62381
| 2 | 1.9313 | Regression Statistics
| 3 | 3.258 | Multiple R | 0.99579
| 4 | 4.0836 | R Square | 0.99159
| 5 | 4.4234 | Adjusted R Square | 0.99054
| 6 | 5.7601 | Standard Error | 0.28195
| 7 | 6.7775 | Observations | 10
| 8 | 7.9657
| 9 | 8.5444 | ANOVA
| 10 | 9.3003 |  | df | SS | MS | F | Significance F
|  |  | Regression | 1 | 75.0155 | 75.0155 | 943.6613 | 1.3701e-09
| Correlation | 0.99579 | Residual | 8 | 0.63595 | 0.079494
|  |  | Total | 9 | 75.6514
| For 1:1 Line |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95%
| 0 | 0 | Intercept | 0.022223 | 0.19261 | 0.11538 | 0.91099 | -0.42193 | 0.46637
| 11 | 11 | X Variable 1 | 0.95356 | 0.031041 | 30.7191 | 1.3701e-09 | 0.88198 | 1.0251

## Bland Altman Plot
Bland Altmann Plot Example |  |  |  |  | See information at this website: | http://www.real-statistics.com/reliability/interrater-reliability/bland-altman-analysis/bland-altman-plot/
|  |  |  | And see article at: |  | https://doi.org/10.1016/S0140-6736(86)90837-8
[5 empty] | Count | 10
Old | New | Average | Diff |  | Average | 0.23319
1 | 0.62381 | 0.81191 | 0.37619 |  | Std Dev | 0.30072
2 | 1.9313 | 1.9656 | 0.068707 |  | Limit | 0.5894
3 | 3.258 | 3.129 | -0.25795 |  | Upper | 0.82259
4 | 4.0836 | 4.0418 | -0.083576 |  | Lower | -0.35621
5 | 4.4234 | 4.7117 | 0.57664 | Limits of Agreement (encompass 95% of the population)
6 | 5.7601 | 5.8801 | 0.23986 | Upper | 0 | 0.82259
7 | 6.7775 | 6.8888 | 0.22248 |  | 11 | 0.82259
8 | 7.9657 | 7.9829 | 0.034257
9 | 8.5444 | 8.7722 | 0.45559 | Average | 0 | 0.23319
10 | 9.3003 | 9.6501 | 0.69972 |  | 11 | 0.23319
|  |  |  | Lower | 0 | -0.35621
[5 empty] | 11 | -0.35621

## Equivalence t-test
See Page 50 of the NIST PDF |  |  | https://nvlpubs.nist.gov/nistpubs/TechnicalNotes/NIST.TN.2106.pdf
NIST Example for Equivalence Testing
| Pre | Post | Difference | Two One-Sided t-Tests Method
| 30 | 28 | 2 | The Pre values were chosen first in the Toolpak drop down for the first t-test
| 30 | 30 | 0 | The Post values were chosen first in the Toolpak drop down for the second t-test
| 30 | 30 | 0 | Applied 4.575 as hypothesized mean difference - a negative value cannot be entered
| 30 | 30 | 0 | Results below agree with NIST report example except "t stat" in second
| 30 | 29 | 1 | test is not positive so would have to be interpreted as such.
| 31 | 29 | 2
| 31 | 29 | 2 | t-Test: Two-Sample Assuming Equal Variances
| 31 | 30 | 1
| 31 | 30 | 1 |  | Pre | Post
| 31 | 30 | 1 | Mean | 30.5 | 29.5
mean | 30.5 | 29.5 | 1 | Variance | 0.27778 | 0.5
|  |  |  | Observations | 10 | 10
|  |  |  | Pooled Variance | 0.38889
|  |  |  | Hypothesized Mean Difference | 4.575
|  |  |  | df | 18
|  |  |  | t Stat | -12.8188
|  |  |  | P(T<=t) one-tail | 8.6569e-11
|  |  |  | t Critical one-tail | 1.7341
|  |  |  | P(T<=t) two-tail | 1.7314e-10
|  |  |  | t Critical two-tail | 2.1009
t-Test: Two-Sample Assuming Equal Variances
[5 empty] | Post | Pre
|  |  |  | Mean | 29.5 | 30.5
|  |  |  | Variance | 0.5 | 0.27778
|  |  |  | Observations | 10 | 10
|  |  |  | Pooled Variance | 0.38889
|  |  |  | Hypothesized Mean Difference | 4.575
|  |  |  | df | 18
|  |  |  | t Stat | -19.9902 | Not positive
|  |  |  | P(T<=t) one-tail | 4.857e-14
|  |  |  | t Critical one-tail | 1.7341
|  |  |  | P(T<=t) two-tail | 9.7141e-14
|  |  |  | t Critical two-tail | 2.1009

## Equivalence Conf Interval
See Page 50 of the NIST PDF |  |  | https://nvlpubs.nist.gov/nistpubs/TechnicalNotes/NIST.TN.2106.pdf
NIST Example for Equivalence Testing
| Pre | Post | Difference
| 30 | 28 | 2 | Confidence Interval Method
| 30 | 30 | 0 | For graph
| 30 | 30 | 0
| 30 | 30 | 0
| 30 | 29 | 1 | -delta | -4.575 | 1
| 31 | 29 | 2 | +delta | 4.575 | 1
| 31 | 29 | 2 | Mean Diff | 1 | 1
| 31 | 30 | 1 | LCI | 0.51639 | 1
| 31 | 30 | 1 | UCI | 1.4836 | 1
| 31 | 30 | 1
Mean = | 30.5 | 29.5 | 1
Std Dev = | 0.52705 | 0.70711
delta = +/- 15% of pre shock mean
| 15% of mean = | 4.575 |  |  |  |  | From NIST Report
| d_L = | -4.575
| d_U = | 4.575
| Mean Difference = | 1
| s_Pre | 0.52705
| s_Post | 0.70711
| s_pooled | 0.62361
| One-side t value | 1.7341
| Confidence Interval | 0.48361
| LCI | 0.51639
| UCI | 1.4836
𝑠_𝑃=√(((𝑛_𝐴−1) 𝑠_𝐴^2+(𝑛_𝐵−1) 𝑠_𝐵^2)/(𝑛_𝐴+𝑛_𝐵−2))
((𝑦_𝐴 ) ̅−(𝑦_𝐵 ) ̅ )±𝑡_(𝛼,𝑛_𝐴+𝑛_𝐵−2)∙𝑠_𝑃∙√(1/𝑛_𝐴 +1/𝑛_𝐵 )